## Sheet1
SEDEMAC |  | Password Access | Doc # | SW-Password Access-GC1x-KG640
|  |  | Rev # / Rev Date | R0.00 / 1-Oct-2021
|  | SW-GC1x-KG640 12028 | Page # | 1 of 1
| Sr. No. | PARAMETER | PASSWORD 1 | PASSWORD 2
| 1 | PROFILE NAME | NO | NO
| 2 | POWER ON MODE | YES | NO
| 3 | POWER ON LAMP TEST | YES | NO
| 4 | DEEP SLEEP MODE | YES | NO
| 5 | CONTRAST | YES | NO
| 6 | POWER SAVE MODE | YES | NO
| 7 | COMM MODE | NO | NO
| 8 | MODBUS SLAVE ID | YES | NO
| 9 | MODBUS BAUDRATE | YES | NO
| 10 | PARITY BIT | YES | NO
| 11 | DIGITAL INPUT A SOURCE | YES | NO
| 12 | DIGITAL INPUT A POLARITY | YES | NO
| 13 | DIGITAL INPUT A ACTION | YES | NO
| 14 | DIGITAL INPUT A ACTIVATION | YES | NO
| 15 | DIGITAL INPUT A ACTIVATION DELAY | YES | NO
| 16 | DIGITAL INPUT B SOURCE | YES | NO
| 17 | DIGITAL INPUT B POLARITY | YES | NO
| 18 | DIGITAL INPUT B ACTION | YES | NO
| 19 | DIGITAL INPUT B ACTIVATION | YES | NO
| 20 | DIGITAL INPUT B ACTIVATION DELAY | YES | NO
| 21 | DIGITAL INPUT C SOURCE | YES | NO
| 22 | DIGITAL INPUT C POLARITY | YES | NO
| 23 | DIGITAL INPUT C ACTION | YES | NO
| 24 | DIGITAL INPUT C ACTIVATION | YES | NO
| 25 | DIGITAL INPUT C ACTIVATION DELAY | YES | NO
| 26 | DIGITAL INPUT D SOURCE | YES | NO
| 27 | DIGITAL INPUT D POLARITY | YES | NO
| 28 | DIGITAL INPUT D ACTION | YES | NO
| 29 | DIGITAL INPUT D ACTIVATION | YES | NO
| 30 | DIGITAL INPUT D ACTIVATION DELAY | YES | NO
| 31 | DIGITAL INPUT E SOURCE | YES | NO
| 32 | DIGITAL INPUT E POLARITY | YES | NO
| 33 | DIGITAL INPUT E ACTION | YES | NO
| 34 | DIGITAL INPUT E ACTIVATION | YES | NO
| 35 | DIGITAL INPUT E ACTIVATION DELAY | YES | NO
| 36 | SENSOR SELECTION | YES | NO
| 37 | (DIG)SOURCE | YES | NO
| 38 | (DIG)POLARITY | YES | NO
| 39 | (DIG)ACTION | YES | NO
| 40 | (DIG)ACTIVATION | YES | NO
| 41 | (DIG)ACTIVATION DELAY | YES | NO
| 42 | SHUTDOWN | YES | NO
| 43 | SHUTDOWN THRESHOLD | YES | NO
| 44 | WARNING | YES | NO
| 45 | WARNING THRESHOLD | YES | NO
| 46 | OPEN CKT ALARM | YES | NO
| 47 | R1 | YES | NO
| 48 | T1 | YES | NO
| 49 | R2 | YES | NO
| 50 | T2 | YES | NO
| 51 | R3 | YES | NO
| 52 | T3 | YES | NO
| 53 | R4 | YES | NO
| 54 | T4 | YES | NO
| 55 | R5 | YES | NO
| 56 | T5 | YES | NO
| 57 | R6 | YES | NO
| 58 | T6 | YES | NO
| 59 | R7 | YES | NO
| 60 | T7 | YES | NO
| 61 | R8 | YES | NO
| 62 | T8 | YES | NO
| 63 | R9 | YES | NO
| 64 | T9 | YES | NO
| 65 | R10 | YES | NO
| 66 | T10 | YES | NO
| 67 | SENSOR SELECTION | YES | NO
| 68 | (DIG)SOURCE | YES | NO
| 69 | (DIG)POLARITY | YES | NO
| 70 | (DIG)ACTION | YES | NO
| 71 | (DIG)ACTIVATION | YES | NO
| 72 | (DIG)ACTIVATION DELAY | YES | NO
| 73 | SHUTDOWN | YES | NO
| 74 | SHUTDOWN THRESHOLD | YES | NO
| 75 | WARNING | YES | NO
| 76 | WARNING THRESHOLD | YES | NO
| 77 | FUEL TANK CAPACITY | YES | NO
| 78 | FUEL THEFT ALARM | YES | NO
| 79 | FUEL THEFT THRESHOLD | YES | NO
| 80 | FUEL CONSUMPTION | YES | NO
| 81 | FUEL IN LITERS | YES | NO
| 82 | FUEL REFERANCE | YES | NO
| 83 | R1 | YES | NO
| 84 | L1 | YES | NO
| 85 | R2 | YES | NO
| 86 | L2 | YES | NO
| 87 | R3 | YES | NO
| 88 | L3 | YES | NO
| 89 | R4 | YES | NO
| 90 | L4 | YES | NO
| 91 | R5 | YES | NO
| 92 | L5 | YES | NO
| 93 | R6 | YES | NO
| 94 | L6 | YES | NO
| 95 | R7 | YES | NO
| 96 | L7 | YES | NO
| 97 | R8 | YES | NO
| 98 | L8 | YES | NO
| 99 | R9 | YES | NO
| 100 | L9 | YES | NO
| 101 | R10 | YES | NO
| 102 | L10 | YES | NO
| 103 | SENSOR SELECTION (PIN26) | YES | NO
| 104 | (DIG)SOURCE | YES | NO
| 105 | (DIG)POLARITY | YES | NO
| 106 | (DIG)ACTION | YES | NO
| 107 | (DIG)ACTIVATION | YES | NO
| 108 | (DIG)ACTIVATION DELAY | YES | NO
| 109 | SHUTDOWN | YES | NO
| 110 | SHUTDOWN THRESHOLD | YES | NO
| 111 | WARNING | YES | NO
| 112 | WARNING THRESHOLD | YES | NO
| 113 | OPEN CKT ALARM | YES | NO
| 114 | R1 | YES | NO
| 115 | V1 | YES | NO
| 116 | R2 | YES | NO
| 117 | V2 | YES | NO
| 118 | R3 | YES | NO
| 119 | V3 | YES | NO
| 120 | R4 | YES | NO
| 121 | V4 | YES | NO
| 122 | R5 | YES | NO
| 123 | V5 | YES | NO
| 124 | R6 | YES | NO
| 125 | V6 | YES | NO
| 126 | R7 | YES | NO
| 127 | V7 | YES | NO
| 128 | R8 | YES | NO
| 129 | V8 | YES | NO
| 130 | R9 | YES | NO
| 131 | V9 | YES | NO
| 132 | R10 | YES | NO
| 133 | V10 | YES | NO
| 134 | SOURCE | YES | NO
| 135 | ON ACTIVATION | YES | NO
| 136 | SOURCE | YES | NO
| 137 | ON ACTIVATION | YES | NO
| 138 | SOURCE | YES | NO
| 139 | ON ACTIVATION | YES | NO
| 140 | SOURCE | YES | NO
| 141 | ON ACTIVATION | YES | NO
| 142 | SOURCE | YES | NO
| 143 | ON ACTIVATION | YES | NO
| 144 | SOURCE | YES | NO
| 145 | ON ACTIVATION | YES | NO
| 146 | CRANK HOLD TIME | YES | NO
| 147 | CRANK REST TIME | YES | NO
| 148 | CRANK START DELAY | YES | YES
| 149 | SAFETY MONITORING DELAY | YES | NO
| 150 | ALT DETECT DELAY | YES | NO
| 151 | MAINS DETECT DELAY | YES | YES
| 152 | RETN-TO-MAINS DELAY | YES | YES
| 153 | WARM UP DELAY | YES | NO
| 154 | ENGINE COOL TIME | YES | NO
| 155 | STOP ACTION TIME | YES | NO
| 156 | LOAD TRANSFER DELAY | YES | YES
| 157 | PWR SAVE MODE DELAY | YES | YES
| 158 | SCRN CHNGOVER TIME | YES | YES
| 159 | DEEP SLP MODE DELAY | YES | YES
| 160 | SOUNDER ALARM TIMER | YES | YES
| 161 | TEST MODE TIMER | YES | YES
| 162 | ALT PRESENT | NO | NO
| 163 | NUMBER OF POLES | YES | NO
| 164 | ALT AC SYSTEM | YES | YES
| 165 | MIN HEALTHY VOLT | YES | NO
| 166 | MIN HEALTHY FREQ | YES | NO
| 167 | PHASE REVERSE DETECT | YES | YES
| 168 | PHASE REVERSE ACTION | YES | YES
| 169 | ALT VOLT LOST SHUTDOWN | YES | NO
| 170 | ALT VOLT LOST THRESHOLD | YES | NO
| 171 | ALT VOLT LOST DELAY | YES | NO
| 172 | AUTO LOAD TRANSFER | YES | NO
| 173 | UNDER VOLT SHUTDOWN | YES | NO
| 174 | UV SHUTDWN THRESHLD | YES | NO
| 175 | UNDER VOLT WARNING | YES | NO
| 176 | UV WARNING THRESHOLD | YES | NO
| 177 | OVER VOLT SHUTDOWN | YES | NO
| 178 | OV SHUTDWN THRESHLD | YES | NO
| 179 | OVER VOLT WARNING | YES | NO
| 180 | OV WARNING THRESHOLD | YES | NO
| 181 | UNDER FREQ SHUTDOWN | YES | NO
| 182 | UF SHUTDWN THRESHLD | YES | NO
| 183 | UNDER FREQ WARNING | YES | NO
| 184 | UF WARNING THRESHOLD | YES | NO
| 185 | OVER FREQ SHUTDOWN | YES | NO
| 186 | OF SHUTDWN THRESHLD | YES | NO
| 187 | OVER FREQ WARNING | YES | NO
| 188 | OF WARNING THRESHOLD | YES | NO
| 189 | CT RATIO | YES | YES
| 190 | OVER CURR THRESHOLD | YES | NO
| 191 | OVER CURR DELAY | YES | NO
| 192 | OVER CURR ACTION | YES | NO
| 193 | UNBAL LOAD ACTION | YES | NO
| 194 | UNBAL LOAD THRESHOLD | YES | NO
| 195 | UNBAL LOAD DELAY | YES | NO
| 196 | CT CORRECTION FACTOR | NO | NO
| 197 | GEN RATING | YES | NO
| 198 | OVERLOAD THRESHOLD | YES | NO
| 199 | OVERLOAD MON DELAY | YES | NO
| 200 | OVERLOAD ACTION | YES | NO
| 201 | MAINS MONITORING | YES | NO
| 202 | MAINS AC SYSTEM | YES | YES
| 203 | PHASE REVERSAL DETECT | YES | YES
| 204 | PHASE REVERSAL ACTION | YES | YES
| 205 | ENABLE | YES | NO
| 206 | TRIP | YES | NO
| 207 | RETURN | YES | NO
| 208 | ENABLE | YES | NO
| 209 | TRIP | YES | NO
| 210 | RETURN | YES | NO
| 211 | ENABLE | YES | NO
| 212 | TRIP | YES | NO
| 213 | RETURN | YES | NO
| 214 | ENABLE | YES | NO
| 215 | TRIP | YES | NO
| 216 | RETURN | YES | NO
| 217 | START ATTEMPTS | YES | NO
| 218 | DISCONN ON LOP SENS | YES | NO
| 219 | DISCONN LOP SENS | YES | NO
| 220 | RESERVED | NO | NO
| 221 | DISCONNECT ON LLOP SWITCH | YES | NO
| 222 | LLOP SWITCH TRANS TIME | YES | NO
| 223 | ALT FREQUENCY | YES | NO
| 224 | ENGINE SPEED | YES | NO
| 225 | DISCONNECT ON CHARGING ALT | YES | NO
| 226 | CHARGING ALT THRESHOLD | YES | NO
| 227 | SPEED SENSE SOURCE | YES | NO
| 228 | UNDER SPEED SHUTDOWN | YES | NO
| 229 | UNDER SPEED THRESHOLD | YES | NO
| 230 | UNDER SPEED DELAY | YES | NO
| 231 | OVER SPD THRESHOLD | YES | NO
| 232 | OVER SPEED DELAY | YES | NO
| 233 | GROSS OS THRESHOLD | YES | NO
| 234 | ENGINE SPEED FAULT | YES | NO
| 235 | HEALTHY SPEED THRESHOLD | YES | NO
| 236 | LOW VOLT ACTION | YES | NO
| 237 | LOW VOLT THRESHOLD | YES | NO
| 238 | LOW VOLT DELAY | YES | NO
| 239 | HIGH VOLT ACTION | YES | NO
| 240 | HIGH VOLT THRESHOLD | YES | NO
| 241 | HIGH VOLT DELAY | YES | NO
| 242 | CA FAIL ACTION | YES | YES
| 243 | CA FAIL THRESHOLD | YES | YES
| 244 | CA FAIL DELAY | YES | YES
| 245 | CA VOLTAGE MONITORING THROUGH BATTERY | YES | YES
| 246 | PREHEAT TIMER | YES | YES
| 247 | ENG TEMPERATURE | YES | YES
| 248 | ENG TEMP THRESH | YES | YES
| 249 | COLD START | YES | YES
| 250 | ENABLE | YES | NO
| 251 | ACTION | YES | NO
| 252 | DUE AT ENGINE HOURS | YES | NO
| 253 | PASSWORD 1 | YES | NO
| 254 | PASSWORD 2 | YES | YES